## Site Data
Environmetal Data of Each Site
Water Quality
Atsugi and Tanasawa sites: under laws and regulations related to discharging water into public sewage systems
Koriyama First site, Koriyama Second site: under Fukushima Prefecture laws and regulations related to discharging water into public sewage systems
|  |  |  | FY2015 |  |  |  |  | FY2014 |  |  |  |  | FY2013 |  |  |  |  | FY2012 |  |  |  |  | FY2011 |  |  |  |  | FY2010 |  |  |  |  | FY2009 |  |  |  |  | FY2008
|  | Item | Site | Emission standard (mg/l) |  | Measured value (mg/l) |  |  | Emission standard (mg/l) |  | Measured value (mg/l) |  |  | Emission standard (mg/l) |  | Measured value (mg/l) |  |  | Emission standard (mg/l) |  | Measured value (mg/l) |  |  | Emission standard (mg/l) |  | Measured value (mg/l) |  |  | Emission standard (mg/l) |  | Measured value (mg/l) |  |  | Emission standard (mg/l) |  | Measured value (mg/l) |  |  | Emission standard (mg/l) |  | Measured value (mg/l)
|  |  |  | Regulation value | Voluntary control value | Average | Min. | Max. | Regulation value | Voluntary control value | Average | Min. | Max. | Regulation value | Voluntary control value | Average | Min. | Max. | Regulation value | Voluntary control value | Average | Min. | Max. | Regulation value | Voluntary control value | Average | Min. | Max. | Regulation value | Voluntary control value | Average | Min. | Max. | Regulation value | Voluntary control value | Average | Min. | Max. | Regulation value | Voluntary control value | Average | Min. | Max.
1 | 1 | pH | Atsugi | 5.0-9.0 | 5.7-8.7 | 7.43 | 6.8 | 8 | 5.0-9.0 | 5.7-8.7 | 7.3583 | 6.6 | 8.1 | 5.0-9.0 | 5.7-8.7 | 7.4 | 6.7 | 8.2 | 5.0-9.0 | 5.7-8.7 | 7.5 | 7 | 8 | 5-9 | 5.7-8.7 | 7.2 | 6.9 | 7.8 | 5.7-8.7 | 6.0-8.4 | 7 | 6.7 | 7.8 | 5.7-8.7 | 6.0-8.4 | 7.3 | 6.3 | 8.1 | 5.7-8.7 | 6.0-8.4 | 7.4 | 6.9 | 7.9
1 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 5-9 | 5.7-8.7 | 7.5 | 7.2 | 8 | 5.7-8.7 | 6.0-8.4 | 7.19 | 7 | 7.9 | 5.7-8.7 | 6.0-8.4 | 7.19 | 7 | 7.9 | 5.7-8.7 | 6.0-8.4 | 7.5 | 6.9 | 7.8
1 | 3 |  | Koriyama First | 5.8-8.6 | 6.0-8.4 | 7.1 | 6.6 | 7.6 | 5.8-8.6 | 6.0-8.4 | 6.9 | 6.7 | 7.4 | 5.8-8.6 | 6.0-8.4 | 7 | 7 | 7.4 | 5.8-8.6 | 6.0-8.4 | 7.3 | 7.1 | 7.5 | 5.8-8.6 | 6.0-8.4 | 7.3 | 6.7 | 7.8 | 5.8-8.6 | 6.0-8.4 | 7.3 | 7 | 7.6 | 5.8-8.6 | 6.0-8.4 | 7.2 | 7.1 | 7.4 | 5.8-8.6 | 6.0-8.4 | 7 | 6.2 | 7.4
|  |  | Koriyama Second | 5.8-8.6 | 6.0-8.4 | 7.3 | 6.6 | 7.4 | 5.8-8.6 | 6.0-8.4 | 6.9 | 6.5 | 7.2 | 5.8-8.6 | 6.0-8.4 | 6.6 | 5.8 | 7.4 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2 | 1 | SS | Atsugi | 600 | 300 | 6.36 | ＜1.0 | 16 | 600 | 300 | 5.9583 | ＜1.0 | 16 | 600 | 300 | 8.8 | ＜2.0 | 34 | 600 | 300 | 8 | ＜2.0 | 35 | 600 | 300 | 10.5 | 2 | 24 | 300 | 120 | 9.2 | 4.8 | 19 | 300 | 120 | 8.4 | 2 | 26 | 300 | 120 | 6.3 | 0.1 | 35
2 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 600 | 300 | 1.1 | ＜1 | 1.3 | 300 | 120 | 1 | ＜1 | 1 | 300 | 120 | 1 | ＜1 | 1 | 300 | 120 | 1.5 | 0.1 | 7
2 | 3 |  | Koriyama First | 70 | 30 | 3.15 | 1.2 | 9.3 | 70 | 30 | 2.8 | 1 | 6.4 | 70 | 30 | 2.5 | 1 | 4.8 | 70 | 30 | 3.6 | 1.1 | 4.5 | 70 | 30 | 4.8 | 2 | 7.1 | 70 | 30 | 5.2 | 1.1 | 11 | 70 | 30 | 3.3 | 1 | 7.7 | 70 | 30 | 3.5 | 0 | 7.4
|  |  | Koriyama Second | 70 | 30 | 2.5 | 1.1 | 4.1 | 70 | 30 | 2.2 | 1 | 4.7 | 70 | 30 | 4.7 | 1.6 | 9.2 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
3 | 1 | BOD | Atsugi | 600 | 300 | 18.1 | 0.8 | 96 | 600 | 300 | 16.325 | 0.5 | 80 | 600 | 300 | 37.29 | 1.2 | 150 | 600 | 300 | 4.8 | 1.1 | 21 | 600 | 300 | 9.4 | 1 | 23 | 300 | 180 | 3.6 | 2.5 | 5.2 | 300 | 180 | 6.7 | 1 | 21 | 300 | 180 | 9.9 | 0.2 | 40.7
3 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 600 | 300 | 40.3 | ＜0.5 | 120 | 300 | 180 | 0.78 | ＜0.5 | 1.6 | 300 | 180 | 0.78 | ＜0.5 | 1.6 | 300 | 180 | 1.5 | 0.2 | 5.7
3 | 3 |  | Koriyama First | 40 | 20 | 2.45 | 0.5 | 6.5 | 40 | 20 | 4.3 | 0.8 | 6.5 | 40 | 20 | 2.2 | 1 | 5.9 | 40 | 20 | 6 | 1 | 10 | 40 | 20 | 8.8 | 2.4 | 18 | 40 | 20 | 8 | 3.8 | 17 | 40 | 20 | 5.8 | 2 | 12 | 40 | 20 | 5.1 | 0.1 | 15
|  |  | Koriyama Second | 40 | 20 | 2.9 | 0.7 | 5.8 | 40 | 20 | 3.3 | 1.2 | 6.6 | 40 | 20 | 4.2 | 3.8 | 10 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
4 | 1 | Normal hexane extracts – Mineral oil | Atsugi | 5 | 3 | 0.79 | ＜0.5 | 1 | 5 | 3 | 0.79167 | ＜0.5 | 1 | 5 | 3 | ＜1.0 | ＜1.0 | ＜1.0 | 5 | 3 | ＜1.0 | ＜1.0 | 1 | 5 | 3 | 1 | 1 | 1 | 5 | 3 | 1 | 1 | 1 | 5 | 3 | 1 | 1 | 1.7 | 5 | 3 | 0.6 | 0.1 | 2.2
4 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 5 | 3 | ＜0.5 | ＜0.5 | ＜0.5 | 5 | 3 | 0.6 | ＜0.5 | 2.5 | 5 | 3 | 0.6 | ＜0.5 | 2.5 | 5 | 3 | 0.8 | 0 | 2.4
5 | 1 | Normal hexane extracts – Organic oil | Atsugi | 30 | 18 | 0.79 | ＜0.5 | 1 | 30 | 18 | 0.79167 | ＜0.5 | 1 | 30 | 18 | ＜1.0 | ＜1.0 | ＜1.0 | 30 | 18 | ＜1.0 | ＜1.0 | 1 | 30 | 18 | 1 | 1 | 1 | 30 | 18 | 1 | 1 | 1 | 30 | 18 | 1.2 | 1 | 3.4 | 30 | 18 | (*2) | (*2) | (*2)
5 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 30 | 18 | (*2) | (*2) | (*2) | 30 | 18 | (*2) | (*2) | (*2) | 30 | 18 | (*2) | (*2) | (*2) | 30 | 18 | (*2) | (*2) | (*2)
6 | 1 | Iodine consumption | Atsugi | 220 | 90 | 2.43 | ＜1.0 | 3.3 | 220 | 90 | 1.075 | ＜1.0 | 1.3 | 220 | 90 | ＜1.0 | ＜1.0 | ＜1.0 | 220 | 90 | 1.8 | ＜1.0 | 2.5 | 220 | 90 | 1.8 | 1 | 3.5 | 220 | 90 | 1.15 | 1 | 1.6 | 220 | 90 | 1.4 | 1 | 3.5 | 220 | 90 | 2.9 | 0.1 | 11
6 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 220 | 90 | 2.7 | ＜0.5 | 5.7 | 220 | 90 | 1.04 | 0.5 | 3.3 | 220 | 90 | 1.04 | 0.5 | 3.3 | 220 | 90 | 1.2 | 0 | 3.8
7 | 1 | Fluorine compounds | Atsugi | 8 | 4.8 | 0.49 | 0.26 | 0.78 | 8 | 4.8 | 0.615 | 0.2 | 1.1 | 8 | 4.8 | 0.76 | 0.3 | 1.5 | 8 | 4.8 | 0.9 | 0.2 | 1.7 | 8 | 4.8 | 0.25 | 0.1 | 0.4 | 8 | 4.8 | 0.25 | 0.2 | 0.3 | 8 | 4.8 | 0.2 | 0.1 | 1 | 8 | 4.8 | 0.2 | 0.1 | 0.4
7 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 8 | 4.8 | 0.6 | 0.28 | 0.93 | 8 | 4.8 | 0.8 | 0.28 | 1 | 8 | 4.8 | 0.8 | 0.28 | 1 | 8 | 4.8 | 1.2 | 0.4 | 1.7
8 | 1 | Cyanogen compounds | Atsugi | 1 | 0.4 | ＜0.01 | ＜0.01 | ＜0.01 | 1 | 0.4 | ＜0.01 | ＜0.01 | ＜0.01 | 1 | 0.4 | ＜0.01 | ＜0.01 | ＜0.01 | 1 | 0.4 | ＜0.01 | ＜0.01 | ＜0.01 | 1 | 0.4 | 0.01 | 0.01 | 0.01 | 1 | 0.4 | 0.01 | 0.01 | 0.01 | 1 | 0.4 | 0.01 | 0.01 | 0.02 | 1 | 0.4 | 0.04 | 0.02 | 0.1
8 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 1 | 0.4 | ＜0.01 | ＜0.01 | ＜0.01 | 1 | 0.4 | 0.01 | 0.01 | 0.01 | 1 | 0.4 | 0.01 | 0.01 | 0.01 | 1 | 0.4 | 0.1 | 0.1 | 0.1
9 | 1 | Nitrogen | Atsugi | 380 | 125 | 0.82 | ＜0.2 | 1.77 | 380 | 125 | 3.2525 | ＜0.1 | 12.1 | 380 | 125 | 2.26 | 0.5 | 5.5 | 380 | 125 | 0.8 | ＜0.2 | 4.3 | 380 | 125 | 1.34 | 0.4 | 3.1 | 125 | 50 | 0.85 | 0.5 | 1.4 | 125 | 50 | 1.9 | 0.4 | 18 | 125 | 50 | 1.4 | 0.1 | 10.3
9 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 380 | 125 | 3.9 | 7.7 | 1.8 | 125 | 50 | 4.7 | 1.7 | 17 | 125 | 50 | 4.7 | 1.7 | 17 | 125 | 50 | 5 | 1.6 | 7.6
10 | 1 | Boron | Atsugi | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 10 | 4 | 0.5 | 0.5 | 0.5 | - | - | - | - | - | 10 | 4 | 0.1 | 0.1 | 0.1 | 10 | 4 | 0.2 | 0.1 | 0.3
10 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 10 | 4 | ＜0.1 | ＜0.1 | ＜0.1 | 10 | 4 | 0.1 | 0.1 | 0.1 | 10 | 4 | 0.1 | 0.1 | 0.1 | 10 | 4 | 0.1 | 0.1 | 0.2
11 | 1 | Chromium | Atsugi | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 2 | 0.8 | - | - | - | 2 | 0.8 | 0.1 | 0.1 | 0.5
11 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 2 | 0.8 | ＜0.05 | ＜0.05 | ＜0.05 | 2 | 0.8 | 0.05 | 0.05 | 0.05 | 2 | 0.8 | 0.05 | 0.05 | 0.05 | 2 | 0.8 | 0.1 | 0.1 | 0.7
12 | 1 | Dissolved iron | Atsugi | 10 | 4 | 0.07 | 0.03 | 0.13 | 10 | 4 | 0.11375 | 0.04 | 0.27 | 10 | 4 | 0.11 | ＜0.05 | 0.22 | 10 | 4 | 0.15 | ＜0.05 | 0.6 | 10 | 4 | 0.17 | 0.05 | 0.27 | 10 | 4 | 0.11 | 0.06 | 0.13 | 10 | 4 | 0.07 | 0.05 | 0.13 | 10 | 4 | 0.1 | 0.1 | 0.8
12 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 10 | 4 | 0.08 | ＜0.05 | 0.13 | 10 | 4 | 0.06 | 0.05 | 0.16 | 10 | 4 | 0.06 | 0.05 | 0.16 | 10 | 4 | 0.1 | 0.1 | 0.8
12 | 3 |  | Koriyama First | 10 | 4 | 0.21 | (*3) | (*3) | 10 | 4 | 0.11 | (*3) | (*3) | 10 | 4 | Below the detection limit (0.05 mg/ｌ) | (*3) | (*3) | 10 | 4 | Below the detection limit (0.05 mg/ｌ) | (*3) | (*3) | 10 | 4 | 0.16 | (*3) | (*3) | 10 | 4 | 0.3 | (*3) | (*3) | 10 | 4 | 0.1 | (*3) | (*3) | 10 | 4 | 0.07 | (*3) | (*3)
|  |  | Koriyama Second | 10 | 4 | 0.15 | (*3) | (*3) | 10 | 4 | 0.08 | (*3) | (*3) | 10 | 4 | 0.26 | (*3) | (*3) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
13 | 1 | Copper | Atsugi | 3 | 1.2 | 0.04 | 0.006 | 0.08 | 3 | 1.2 | 0.05325 | 0.004 | 0.18 | 3 | 1.2 | 0.07 | ＜0.05 | 0.21 | 3 | 1.2 | ＜0.05 | ＜0.05 | ＜0.05 | 3 | 1.2 | 0.052 | 0.05 | 0.06 | 3 | 1.2 | 0.05 | 0.05 | 0.05 | 3 | 1.2 | 0.05 | 0.05 | 0.05 | 3 | 1.2 | 0.1 | 0.1 | 0.3
13 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 3 | 1.2 | ＜0.05 | ＜0.05 | ＜0.05 | 3 | 1.2 | 0.05 | 0.05 | 0.05 | 3 | 1.2 | 0.05 | 0.05 | 0.05 | 3 | 1.2 | 0.1 | 0.1 | 0.1
13 | 3 |  | Koriyama First | 2 | 0.8 | 0.03 | (*3) | (*3) | 2 | 0.8 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | 2 | 0.8 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | 2 | 0.8 | 0.01 | (*3) | (*3) | 2 | 0.8 | 0.05 | *3 | *3 | 2 | 0.8 | 0.12 | (*3) | (*3) | 2 | 0.8 | 0.03 | (*3) | (*3) | 2 | 0.8 | 0.02 | (*3) | (*3)
|  |  | Koriyama Second | 2 | 0.8 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | 2 | 0.8 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | 2 | 0.8 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
14 | 1 | Zinc | Atsugi | 2 | 1.2 | 0.07 | ＜0.05 | 0.14 | 2 | 1.2 | 0.06525 | 0.033 | 0.13 | 2 | 1.2 | 0.09 | ＜0.05 | 0.17 | 2 | 1.2 | 0.1 | ＜0.05 | 0.2 | 2 | 1.2 | 0.11 | 0.08 | 0.16 | 2 | 1.2 | 0.29 | 0.09 | 0.79 | 2 | 1.2 | 0.12 | 0.05 | 0.5 | 2 | 1.2 | 0.2 | 0.1 | 0.6
14 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 2 | 1.2 | 0.03 | 0.02 | 0.02 | 2 | 1.2 | 0.02 | 0.01 | 0.18 | 2 | 1.2 | 0.02 | 0.01 | 0.18 | 2 | 1.2 | 0.1 | 0.1 | 0.2
14 | 3 |  | Koriyama First | 2 | 1.2 | 0.08 | (*3) | (*3) | 2 | 1.2 | 0.05 | (*3) | (*3) | 2 | 1.2 | 0.09 | (*3) | (*3) | 2 | 1.2 | 0.1 | (*3) | (*3) | 2 | 1.2 | 0.1 | (*3) | (*3) | 2 | 1.2 | 0.23 | (*3) | (*3) | 2 | 1.2 | 0.05 | (*3) | (*3) | 2 | 1.2 | 0.05 | (*3) | (*3)
|  |  | Koriyama Second | 2 | 1.2 | 0.01 | (*3) | (*3) | 2 | 1.2 | 0.07 | (*3) | (*3) | 2 | 1.2 | 0.03 | (*3) | (*3) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
15 | 1 | Dissolved manganese | Atsugi | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 1 | 0.4 | - | - | - | 1 | 0.4 | 0.02 | 0.01 | 0.07
15 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 1 | 0.4 | 0.02 | ＜0.02 | 0.02 | 1 | 0.4 | 0.035 | 0.02 | 0.2 | 1 | 0.4 | 0.035 | 0.02 | 0.2 | 1 | 0.4 | 0.04 | 0.01 | 0.14
16 | 1 | Nickel | Atsugi | 1 | 0.6 | 0.03 | ＜0.001 | 0.05 | 1 | 0.6 | 0.02575 | ＜0.001 | 0.05 | 1 | 0.6 | ＜0.05 | ＜0.05 | 0.05 | 1 | 0.6 | ＜0.05 | ＜0.05 | ＜0.05 | 1 | 0.6 | 0.05 | 0.05 | 0.05 | 1 | 0.6 | 0.05 | 0.05 | 0.05 | 1 | 0.6 | 0.05 | 0.05 | 0.06 | 1 | 0.6 | 0.14 | 0.02 | 0.32
16 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 1 | 0.6 | ＜0.05 | ＜0.05 | ＜0.05 | 1 | 0.6 | 0.05 | 0.05 | 0.05 | 1 | 0.6 | 0.05 | 0.05 | 0.05 | 1 | 0.6 | 0.09 | 0.05 | 0.15
16 | 3 |  | Koriyama First | 2 | 0.8 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | 2 | 0.8 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | 2 | 0.8 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | 2 | 0.8 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | 2 | 0.8 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | 2 | 0.8 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | 2 | 0.8 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | 2 | 0.8 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3)
|  |  | Koriyama Second | 2 | 0.8 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | 2 | 0.8 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | 2 | 0.8 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
17 | 1 | Lead | Atsugi | 0.1 | 0.06 | 0.01 | ＜0.001 | 0.05 | 0.1 | 0.06 | 0.017375 | ＜0.001 | 0.04 | 0.1 | 0.06 | 0.019 | ＜0.01 | 0.05 | 0.1 | 0.06 | 0.01 | ＜0.01 | 0.03 | 0.1 | 0.06 | 0.014 | 0.01 | 0.03 | 0.1 | 0.06 | 0.01 | 0.01 | 0.02 | 0.1 | 0.06 | 0.01 | 0.01 | 0.01 | 0.1 | 0.06 | 0.01 | 0.01 | 0.02
17 | 2 |  | Tanasawa | [10 empty] | - | - | - | - | - | - | - | - | - | - | 0.1 | 0.06 | ＜0.01 | ＜0.01 | ＜0.01 | 0.1 | 0.06 | 0.01 | 0.01 | 0.01 | 0.1 | 0.06 | 0.01 | 0.01 | 0.01 | 0.1 | 0.06 | 0.01 | 0.01 | 0.01
17 | 3 |  | Koriyama First | 0.1 | 0.08 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | 0.1 | 0.08 | Below the detection limit (0.05 mg/ｌ) | (*3) | (*3) | 0.1 | 0.08 | Below the detection limit (0.05 mg/ｌ) | (*3) | (*3) | 0.1 | 0.08 | Below the detection limit (0.05 mg/ｌ) | (*3) | (*3) | 0 | 0.08 | Below the detection limit (0.05 mg/ｌ) | (*3) | (*3) | 0.1 | 0.08 | Below the detection limit (0.05 mg/ｌ) | (*3) | (*3) | 0.1 | 0.08 | Below the detection limit (0.05 mg/ｌ) | (*3) | (*3) | 0.1 | 0.08 | Below the detection limit (0.05 mg/ｌ) | (*3) | (*3)
|  |  | Koriyama Second | 0.1 | 0.08 | Below the detection limit (0.01 mg/ｌ) | (*3) | (*3) | 0.1 | 0.08 | Below the detection limit (0.05 mg/ｌ) | (*3) | (*3) | 0.1 | 0.08 | Below the detection limit (0.05 mg/ｌ) | (*3) | (*3) | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
18 | 3 | Number of colon bacillus (piece/m3) | Koriyama First | 3000 | 2400 | 0 | 0 | 0 | 3000 | 2400 | 13.3 | 0 | 160 | 3000 | 2400 | 25.8 | 0 | 310 | 3000 | 2400 | 0 | 0 | 0 | 3000 | 2400 | 0.58 | 0 | 3 | 3000 | 2400 | 25 | 0 | 300 | 3000 | 2400 | 0 | 0 | 0 | 3000 | 2400 | 80 | 0 | 620
|  |  | Koriyama Second | 3000 | 2400 | 0.1 | 0 | 1 | 3000 | 2400 | 0 | 0 | 0 | 3000 | 2400 | 0 | 0 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
*1: Items subject to laws and regulations but excluded from this list were not used as raw materials and therefore not measured.
*2: Measured when the discharge of mineral oil exceeded the voluntary control value.
*3: No records indicating the maximum or minimum exist since the survey is conducted only once a year.
*4:Data for the Tanasawa site have not been listed since fiscal 2012 due to the closure of the Tanasawa site subsequent to concentrating Anritsu Device Co., Ltd. operations at the Atsugi site.
The Tohoku site have been devided into the Koriyama First site and the Koriyama Second site since fiscal2013 due to the establishment of the Koriyama Second site.
Groundwater
|  |  |  | FY2015 |  | FY2014 |  | FY2013 |  | FY2012 |  | FY2011 |  | FY2010 |  | FY2009 |  | FY2008
|  | Item | Site | Environmental standard level (mg/l) | Measured value (mg/l) | Environmental standard level (mg/l) | Measured value (mg/l) | Environmental standard level (mg/l) | Measured value (mg/l) | Environmental standard level (mg/l) | Measured value (mg/l) | Environmental standard level (mg/l) | Measured value (mg/l) | Environmental standard level (mg/l) | Measured value (mg/l) | Environmental standard level (mg/l) | Measured value (mg/l) | Environmental standard level (mg/l) | Measured value (mg/l)
1 | 1 | Trichloroethylene | Atsugi | 0.01 | 0.009 | 0.03 | 0.014 | 0.03 | 0.016 | 0.03 | 0.004 | 0.03 | 0.011 | 0.03 | 0.014 | 0.03 | 0.011 | 0.03 | 0.028
1 | 3 |  | Koriyama First |  |  |  |  | - | - | - | - | - | - | - | - | 0.03 | Below the detection limit (0.002 mg/l) | 0.03 | Below the detection limit (0.002 mg/l)
2 | 1 | Tetrachloroethylene(*5) | Atsugi | 0.01 | 0.056 | 0.01 | 0.064 | 0.01 | 0.084 | 0.01 | 0.081 | 0.01 | 0.087 | 0.01 | 0.014 | 0.01 | 0.093 | 0.01 | 0.045
2 | 3 |  | Koriyama First |  |  |  |  | - | - | - | - | - | - | - | - | 0.01 | Below the detection limit (0.0005 mg/l) | 0.01 | Below the detection limit (0.0005 mg/l)
3 | 1 | 1,1,1-trichloroethane | Atsugi | 1 | ＜0.0005 | 1 | ＜0.0005 | 1 | ＜0.0005 | 1 | ＜0.0005 | 1 | ＜0.0005 | 1 | ＜0.0005 | 1 | ＜0.0005 | 1 | 0.0011
3 | 3 |  | Koriyama First |  |  |  |  | - | - | - | - | - | - | - | - | 1 | Below the detection limit (0.0005 mg/l) | 1 | Below the detection limit (0.0005 mg/l)
4 | 1 | 1,1-dichloroethylene | Atsugi | 0.1 | ＜0.002 | 0.1 | ＜0.002 | 0.1 | ＜0.002 | 0.1 | ＜0.002 | 0.02 | ＜0.002 | 0.02 | ＜0.002 | 0.02 | ＜0.002 | 0.02 | 0.004
4 | 3 |  | Koriyama First |  |  |  |  | - | - | - | - | - | - | - | - | 0.02 | Below the detection limit (0.002 mg/l) | 0.02 | Below the detection limit (0.002 mg/l)
5 | 1 | Dichloromethane | Atsugi | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.02 | Below the detection limit (0.002 mg/l)
6 | 1 | 1,2-dichloroethylene | Atsugi | 0.04 | 0.018 | 0.04 | 0.02 | 0.04 | 0.028 | 0.04 | 0.016 | 0.04 | 0.022 | 0.04 | 0.025 | - | - | - | -
6 | 3 |  | Koriyama First | - | - | - | - | - | - | - | - | - | - | - | - | 0.04 | Below the detection limit (0.004 mg/l) | 0.04 | Below the detection limit (0.004 mg/l)
7 | 3 | Carbon tetrachloride | Koriyama First | - | - | - | - | - | - | - | - | - | - | - | - | 0.002 | Below the detection limit (0.0002 mg/l) | 0.002 | Below the detection limit (0.0002 mg/l)
6 | 1 | Cis-1,2-dichloroethylene | Atsugi | - | - | - | - | - | - | - | - | - | - | - | - | 0.04 | 0.023 | 0.04 | 0.015
6 | 3 |  | Koriyama First | - | - | - | - | - | - | - | - | - | - | - | - | 0.04 | Below the detection limit (0.004 mg/l) | 0.04 | Below the detection limit (0.004 mg/l)
*5: Although tetrachloroethylene exceeded the acceptable level, the Atsugi site has never used it.
*6:Water quality inspections at the Koriyama First site have not been conducted since fiscal 2010, the year from which groundwater was no longer present.
Air
Koriyama First site: Air Pollution Control Act
|  |  |  | FY2015 |  |  | FY2014 |  |  | FY2013 |  |  | FY2012 |  |  | FY2011 |  |  | FY2010 |  |  | FY2009 |  |  | FY2008
|  | Item | Site | Emission standard |  |  | Emission standard |  |  | Emission standard |  |  | Emission standard |  |  | Emission standard |  |  | Emission standard |  |  | Emission standard |  |  | Emission standard
|  |  |  | Regulation value | Voluntary control value | Measured value | Regulation value | Voluntary control value | Measured value | Regulation value | Voluntary control value | Measured value | Regulation value | Voluntary control value | Measured value | Regulation value | Voluntary control value | Measured value | Regulation value | Voluntary control value | Measured value | Regulation value | Voluntary control value | Measured value | Regulation value | Voluntary control value | Measured value
1 | 3 | Smuts (g/m3N) | Koriyama First | 0.3 | 0.18 | Below the detection limit (0.005 mg/N) | 0.3 | 0.18 | Below the detection limit (0.005 mg/N) | 0.3 | 0.18 | Below the detection limit (0.005 mg/N) | 0.3 | 0.18 | Below the detection limit (0.005 mg/N) | 0.3 | 0.18 | Below the detection limit (0.005 mg/N) | 0.3 | 0.18 | Below the detection limit (0.005 mg/N) | 0.3 | 0.18 | Below the detection limit (0.005 mg/N) | 0.3 | 0.18 | Below the detection limit (0.005 mg/N)
2 | 3 | Sulfur oxide (m3N/h) | Koriyama First | 4.37 | 2.63 | 0.07 | 4.37 | 2.63 | 0.06 | 4.37 | 2.63 | 0.11 | 4.37 | 2.63 | 0.05 | 4.37 | 2.63 | 0.08 | 4.37 | 2.63 | 0.09 | 4.37 | 2.63 | 0.08 | 4.37 | 2.63 | 0.1
3 | 3 | Nitrogen oxide (ppm) | Koriyama First | 180 | 170 | 95.5 | 180 | 170 | 100 | 180 | 170 | 115 | 180 | 170 | 93 | 180 | 170 | 79.5 | 180 | 170 | 87 | 180 | 170 | 95 | 180 | 170 | 108
Noise Level
Atsugi site, Hiratsuka site, Tanasawa site: Kanagawa Prefecture Government regulations
Tohoku site: Fukushima Prefecture regulations
|  |  |  | ＦＹ2015 |  |  | FY2014 |  |  | FY2013 |  |  | FY2012 |  |  | FY2011 |  |  | FY2010 |  |  | FY2009 |  |  | FY2008
|  | Measured point | Site | Regulation value (dB, daytime) | Voluntary control value (dB, daytime) | Measured value (dB) | Regulation value (dB, daytime) | Voluntary control value (dB, daytime) | Measured value (dB) | Regulation value (dB, daytime) | Voluntary control value (dB, daytime) | Measured value (dB) | Regulation value (dB, daytime) | Voluntary control value (dB, daytime) | Measured value (dB) | Regulation value (dB, daytime) | Voluntary control value (dB, daytime) | Measured value (dB) | Regulation value (dB, daytime) | Voluntary control value (dB, daytime) | Measured value (dB) | Regulation value (dB, daytime) | Voluntary control value (dB, daytime) | Measured value (dB) | Regulation value (dB, daytime) | Voluntary control value (dB, daytime) | Measured value (dB)
1 | 1 | Eastern perimeter | Atsugi | 70 | 68 | 63.1 | 70 | 68 | 66.2 | 70 | 68 | 66.2 | 70 | 68 | 60.2 | 70 | 68 | 62.8 | 70 | 68 | 53 | 70 | 68 | 54 | 70 | 68 | 53
1 | 2 |  | Tanasawa | [6 empty] | - | - | - | - | - | - | 70 | 68 | 57.7 | 70 | 68 | 52 | 70 | 68 | 56 | 70 | 68 | 56
1 | 3 |  | Koriyama First | 75 | 73 | 41.5 | 75 | 73 | 42 | 75 | 73 | 44.5 | 75 | 73 | 46.5 | 75 | 73 | 45 | 75 | 73 | 48 | 75 | 74 | 54 | 75 | 74 | 43
|  |  | Koriyama Second | 75 | 73 | 49 | 75 | 73 | 51 | 75 | 73 | 47 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
1 | 4 |  | Hiratsuka | 65 | 64 | 56.5 | 65 | 64 | 56.5 | 65 | 64 | 59.4 | 65 | 64 | 59.8 | - | - | - | - | - | - | - | - | - | - | - | -
2 | 1 | Western perimeter | Atsugi | 70 | 68 | 59.2 | 70 | 68 | 57.5 | 70 | 68 | 57.5 | 70 | 68 | 54.7 | 70 | 68 | 49.4 | 70 | 68 | 49 | 70 | 68 | 50 | 70 | 68 | 51
2 | 2 |  | Tanasawa | [6 empty] | - | - | - | - | - | - | 70 | 68 | 50 | 70 | 68 | 49 | 70 | 68 | 50 | 70 | 68 | 50
2 | 3 |  | Koriyama First | 75 | 73 | 47 | 75 | 73 | 50 | 75 | 73 | 48.5 | 75 | 73 | 49.5 | 75 | 73 | 51.5 | 75 | 73 | 51 | 75 | 74 | 50 | 75 | 74 | 47
2 | 4 |  | Hiratsuka | 65 | 64 | 59.1 | 65 | 64 | 59.1 | 65 | 64 | 48.8 | 65 | 64 | 48.1 | - | - | - | - | - | - | - | - | - | - | - | -
|  | Western perimeter 1 | Koriyama Second | 75 | 73 | 47.5 | 75 | 73 | 47 | 75 | 73 | 45.5 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
|  | Western perimeter 2 | Koriyama Second | 75 | 73 | 43.5 | 75 | 73 | 45 | 75 | 73 | 45.5 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
3 | 1 | Southern perimeter | Atsugi | 70 | 68 | 58 | 70 | 68 | 57.3 | 70 | 68 | 57.3 | 70 | 68 | 51.7 | 70 | 68 | 53.6 | 70 | 68 | 56 | 70 | 68 | 55 | 70 | 68 | 47
3 | 2 |  | Tanasawa | [6 empty] | - | - | - | - | - | - | 70 | 68 | 47.7 | 70 | 68 | 48 | 70 | 68 | 46 | 70 | 68 | 47
3 | 4 |  | Hiratsuka | 75 | 73 | 63.4 | 75 | 73 | 63.4 | 75 | 73 | 64.2 | 75 | 73 | 62.6 | - | - | - | - | - | - | - | - | - | - | - | -
5 | 3 | Southern perimeter 1 | Koriyama First | 75 | 73 | 59.5 | 75 | 73 | 56 | 75 | 73 | 60.5 | 75 | 73 | 59.5 | 75 | 73 | 60 | 75 | 73 | 61 | 75 | 73 | 61 | 75 | 73 | 60
6 | 3 | Southern perimeter 2 | Koriyama First | 75 | 73 | 50.5 | 75 | 73 | 50 | 75 | 73 | 52 | 75 | 73 | 51 | 75 | 73 | 53 | 75 | 73 | 53 | 75 | 73 | 62 | 75 | 73 | 65
4 | 1 | Northern perimeter | Atsugi | 70 | 68 | 63.5 | 70 | 68 | 63.8 | 70 | 68 | 63.8 | 70 | 68 | 60.4 | 70 | 68 | 60.5 | 70 | 68 | 56 | 70 | 68 | 55 | 70 | 68 | 57
4 | 2 |  | Tanasawa | [6 empty] | - | - | - | - | - | - | 70 | 68 | 57.5 | 70 | 68 | 53 | 70 | 68 | 53 | 70 | 68 | 49
|  |  | Koriyama Second | 75 | 73 | 46.5 | 75 | 73 | 46 | 75 | 73 | 45.5 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
4 | 4 |  | Hiratsuka | 75 | 73 | 52.1 | 75 | 73 | 52.1 | 75 | 73 | 58.5 | 75 | 73 | 50.4 | - | - | - | - | - | - | - | - | - | - | - | -